Name of Experiment Series, Experiment number in that series

Date, Time, Operator(s)

| Instrument Parameter | Condition |  |
| --- | --- | --- |
| Main Chamber Starting Pressure | #.#E-# mbar (measured on the Ion Gauge) |  |
| Main Chamber Ending Pressure | #.#E-# mbar (measured on the Ion Gauge) |  |
| Main Ion Pump Current and Pressure | #.# A, #.#E-# mbar |  |
| Puck Nest Temperature | # K (measured as close to the specimen as possible) |  |
| Cryo Setpoint | # K |  |
| Load Lock Starting Pressure | #.#E-# mbar (measured on the LL Wide Range Gauge) |  |
| Load Lock Ending Pressure | #.#E-# mbar (measured on the LL Wide Range Gauge) |  |
| Ion Column Starting Pressure | #.#E-# mbar (measured on the Ion Column Wide Range Gauge) |  |
| Ion Column Ending Pressure | #.#E-# mbar (measured on the Ion Column Wide Range Gauge) |  |
| Ion Column Ion Pump Current and Pressure | #.# A, #.#E-# mbar |  |
| Ion Column Used? | Yes/No |  |
| Specimen Type |  |  |
| Specimen ID |  |  |
| Gasses Introduced into Main Chamber | He,O,etc. |  |
| Load Lock Vented | Yes/No |  |

Description: A brief description of the experiment series, including what the intended purpose is (to test stability, gather data, test timing synchronization, etc.). Include independent and dependent variables, special instrument conditions (especially interlocks/safeties bypassed).

Parameter Ranges:

- Independent variable range min to max, with step size

- Dependent variable measurement range (min to max detectable with measurement setup, any restrictions on the measurement).

- Emergency stop parameters (besides interlock faults; for example, high leakage current on the stage, arcing at the MCP, etc).

Data types recorded:

- Oscilloscope traces, digital logging via UI, MCP images, raw MCP hit files, etc. This helps us know how many and what sort of data files to look for associated with this experiment.

Names of Raw Data files and Links to their location

If the IonOptika column was used, a link to the location of the alignment settings file that was used for this experiment (these should be archived in their own folder).

Data goes here

Experiment notes: Description of how the experiment proceeded, any issues that arose, delays caused by those issues, etc. Any modifications to the original experiment plan should be listed here, along with any incidental observations (“It was easier to set up this time”, “The pressure seemed a bit unstable”, “We kept running into this/that problem”). These are meant to enhance the usefulness of the raw data and provide context when coming back to the report later on (after everyone has forgotten what exactly happened). This section can be as long as needed.

Data Formatting:

- Where possible, all 2-axis data should be saved as a .csv with column headings, and re-graphed in a consistent format. Pictures of Oscilloscope traces are not as useful as accessible data.

- See Fig 1 for graph formatting conventions (and copy it to use as a template where needed). X and Y axes labeled with units; major and minor subdivision tick marks; separate symbols and colors for separate data sets; no smoothing or other connecting lines; error bars on the data points where relevant (x and y both); single y axis only unless absolutely necessary; logarithmic scale when the data traverses more than 2 orders of magnitude; major gridlines on the graph, minor gridlines for log axes. For experiments with several correlated traces with different units (say pressure, temperature, and voltage vs time) it is better to have three separate graphs than to try and cram them all onto one plot.

- Photo formatting: Includes a caption of some sort indicating purpose of the photo, relevant details to note in the photo, who took it and under what conditions.

- MCP Image: Includes the parameters found in the below table:

| Parameter | Condition |
| --- | --- |
| MCP Front Voltage | +/- #### V |
| MCP Back Voltage | +/- #### V |
| Integration time | ## s |
| Specimen stage HV | #### V |
| Main Chamber Pressure (on ion gauge) | #.#E-# mbar |
| Ion Column Settings | Inactive, or else Accelerating voltage, aperture number, blanked/unblanked, and source pressure |
| Imaging Gas Used, if any | Helium, or N/A |

In addition, while the default software MCP images are okay for now, eventually we will want to replot this data ourselves so we can manipulate it.

- Ion Column Image: Includes the parameters found in the below table:

| Parameter | Condition |
| --- | --- |
| Ion Column Accelerating Voltage | # kV or V |
| Ion Column Source Pressure | #.#E-# mbar |
| Aperture Number | # or Diameter in um |
| Field of View | ### um |
| Pixel Dwell Time | # ms or s |
| Signal Source | SED or Current measurement |

The image can be either only the detected signal or a screenshot of the whole IonOptika GUI, but it must also include (either embedded or linked) the signal-only image at full resolution. Ideally we would also figure out a way to apply a scale bar in um to this image. Preferred image format is .tiff.

Fig 1: Graph Formatting Example